# BROOKFIELD WATER DEPARTMENT

# 6 CENTRAL ST.

BROOKFIELD MA.  01506

PHONE (508) 867-5722 EXT 17

FAX (508) 867-5091

# RULES AND REGULATIONS

# Rules and regulations revised on May 5, 2008

Addendum to rules and regulations on February 24, 2010

Rules and regulations revised on February 13, 2013

Rules and regulations revised on August 9, 2017

Rules and regulations revised on July 8, 2020

# Section - 1

Paragraph - 1 minimum water pressure

PLEASE READ THE RULES AND REGULATIONS OF THE WATER DEPARTMENT.

All applications for the use of town water shall be made on forms provided by the Water Department.

- APPLICATIONS:

In order for the water department to supply service there must no less than 35-psi water pressure at the requested location before any application for water will be accepted. At no time less than 20-psi even under fire flow conditions. The water department and its applicants must both abide by all department of environmental protection drinking water regulations.  See ma general M.G.L. CMR 2.19.

The owner-contractor of the property to be serviced by the town water system shall be responsible for all aspects of the project for a period of one year after the installation.  Tapping of the water main, digging, repaving, reseeding, meters, parts and supplies, detail police officers if necessary and all other related expenses.  All work shall be performed under the direct supervision of the Water Superintendent.  All material used must be approved by the Water Superintendent.  There will be a fee charged for any water department supplied materials. There will be no connection of any private water supply to any town lines or the building being serviced.  A service line is considered a single line with no tees or branches before the meter.

- SERVICE TUBING:

Service tubing shall be 200 P.S.I., P.E. tubing using pack joint gripper style compression fittings, buried to maintain a minimum cover of 5 '.  All service lines will be buried with a #12 solid copper plastic coated locator wire connected to the corporation stop and run to the meter.  There will be no drains or sewer lines closer than 10’ to the water line.  All work and supplies must meet A.W.W.A. standards.

- SERVICE CONNECTION FEE:

The fee of $500.00 will be collected per each new water service.  This fee is to be paid prior to the working date.  This fee will also be charged even if there is an existing service tap to the property unless documentation of prior payment is provided.

- PRIVATE PROPERTY

If there is a water main installed or proposed on private property, every service connection to such water main will be charged the connection fee of $500.00 even though the water main is paid for by the private property owner or owners.  Every service will have a separate curb stop and meter.  All work must be inspected and approved by the Superintendent of the Water Department or the designee.  The Water Department has the right to shut off water to any property or properties if a water leak is detected and may stay shut off until such water leak is repaired by the property owner or owners at their expense.  All repairs must be under direct supervision of the Water Superintendent.

- BACKFLOW PREVENTION

All connections shall be in accordance with state regulations #310 CMR 22:22.  All testable devises shall be tested in accordance with #310 CMR 22:22 by the water department or its designated tester.  The Water Department will bill for such testing at the cost of such testing, plus 10% per test.  All new buildings will be required to install a containment device (usually a dual check valve assembly) immediately down stream of the water meter.

# Closed System

The owner must be aware that the installation of a containment device results in a potential closed plumbing system within this building.  As such provisions should be made by the owner to provide for thermal expansion within this system.  Check with the plumber or the plumbing inspector.

# Swimming Pools

All homes with swimming pools will have, at minimum, a dual check valve at the meter.

- METERS

All services shall be metered.  All meters shall be under the control of the Water Department.  If found out of order, 5/8 meters will be removed and repaired at the Water Department expense.  Larger meters will be repaired or replaced at the owner’s expense.  However if any materials damaged through the negligence of a water user, the meter shall be replaced at the home owners expense.  If the meter fails to register properly the consumer will be charged at the average consumption as shown by the meter when working properly.  If the owner requests that the meter be checked, even if the superintendent believes that it is in good working order, the Water Department will check the meter and the Water Department will bill the owner $50.00 for services rendered.  If the meter is found to be over registering no charge will be made for checking and a billing adjustment will be rendered.

# Meter Tampering

No person shall remove or tamper with any meter for any reason.  There will be a fine accessed to the water customer in the amount of $500.00 if the meter has been tampered with or is not connected.  If the meter had or has been removed the Water Commissioners reserve the right to determine the water amount used and bill for such use in addition to the fine accessed.

- ACCESS TO PREMISES

All locations supplied with town water must be accessible within a timely manner for inspection by the Water Commissioners or the Water Superintendent.

- SPRINKLER SYSTEMS

All buildings excluding town property with sprinkler systems will be charged $150.00 per year for each system.

- FILLING SWIMMING POOLS

Contact the superintendent at least 48 hours prior to the desired appointment time.  (2) There will be a $30.00 charge for opening and closing hydrant’s and a per gallon charge of $5.00 per thousand gallons.  (3) The owner is responsible procuring all hoses.  (4)  Work hours are 7:00 a.m. to 3:00 p.m. five days a week.  If overtime is required the charges will be applied.

- SELLING OF BULK WATER

Water for transport can be purchased (drinking water must have proper permitting from DEP) with proper notice and equipment.  Prices will be charged at $5.00 per thousand gallons.  Prices will be revised as needed.

- CONTROL OF HYDRANTS

The Fire Department will have control of the hydrants in the case of fires.  During an active fire the Water Superintendent or Water Commissioners must be notified immediately in order to maintain an adequate water supply.  In no case will any other person be allowed to handle hydrants or other apparatus without the permission of the Water Commissioners or Water Superintendent.  There is a penalty of $500.00 for any unauthorized use.

- DISCONTINUANCE OF WATER

Any person wishing to discontinue the use of water must contact the Water Superintendent 48 hours in advance.  There will be a fee of $35.00 for on/off request due to seasonal use, plumbing, house repairs, or temporary shut off not to exceed one year.

- RATES AND WATER BILLS

Water bills will be sent semi-annually at rates set by the Water Commissioners.  Water is billed at a base rate of $55.00 for the first 5,000 gallons and at a rate of $3.50 per thousand gallons thereafter.  All water bills shall be due and payable to the Brookfield Water Department within thirty days of the billing date.  All other charges will be due when services are rendered.  Interest will be charged after thirty days at the rate of 14%.

# DEMAND NOTICE

If after forty-five (45) days the bill remains unpaid, a final demand notice will be sent with a $25.00 demand charge rendering a notice of water termination.  Payment must be made in full with all termination notices.

# WATER LIENS

A water lien will only be placed on the property after proof of extreme hardship and with the approval of the Water Commissioners.

- FINAL METER READINGS/TRANSFER OF OWNERSHIP

The owner and purchaser are responsible for coordinating with the Water Superintendent to be available to read the meter upon change of ownership so that a final reading may be established.

- SHUTTING OFF WATER FOR NON-PAYMENT

There is a $50.00 reconnection fee if it is necessary to shut your service off for non- payment.  If this shut off is necessary, advance notice will be given and the Water Department will not be held responsible for damages as a result of this condition.  All fees must be paid prior to resuming service.

- CONTROL OF WATER FOR CONSERVATION                   CONSTRUCTION OR EMERGENCY

The Water Commissioners and Water Superintendent have the right to temporarily interrupt water service due to water emergencies and construction related issues.  Notice will be given for interruption of service whenever possible.

Issues regarding the Rules and Regulations should be brought to the attention of the Water Commissioners at a scheduled meeting.

The Water Department operates under the guidance of the Department of Environmental Protection.

# Board of Water Commissioners,

August 9, 2017

_____________________________________________________

_____________________________________________________

_____________________________________________________

.